CHAPTER 4

Fire District; Fire Prevention Code

§ 3-4-1

Fire District Regulations

§ 3-4-2

Flammable Liquids

§ 3-4-3

Fire Prevention Code Adopted

SEC. 3-4-1
FIRE DISTRICT REGULATIONS.

(a) FIRE DISTRICT.  The fire limits of the City of Loyal are hereby established to be the city limits of the city. 

(b) DEFINITIONS.  The terms “fire-resistive construction,” “mill construction,” “ordinary construction,” “frame construction” and “fire retardant roof coverings” shall have the meaning as defined in the Chapter IND 51, Wisconsin Administrative Code.

(c) REGULATIONS WITHIN FIRE DISTRICTS.

(1) REQUIREMENTS.  Every building hereafter erected, enlarged or moved within or into the fire district shall be of fire-resistive, mill or ordinary construction, except as otherwise provided by this ordinance.  Enclosing walls, division walls and party walls shall be of 4-hour, fire-restrictive walls of a construction as provided in Section IND 51.04, Wisconsin Administrative Code, which is herby by reference made a part of this ordinance with respect to all buildings and structures within the fire district.

(2) EXCEPTIONS.  No building of frame construction shall be constructed within or moved within or into the fire district except the following:

a. Buildings occupied as a private garage, not more than one story in height nor more than 750 square feet in area, located on the same lot with a dwelling; provided that any such building shall be placed at least three (3) feet from the lot lines of adjoining property.  Buildings occupied, as a public garage shall be placed at least ten (10) feet from the lot lines of adjoining property.

b. Buildings of frame construction, except when used for a high hazard occupancy, not exceeding 2,500 square feet in area when used for a business occupancy or 1,000 square feet in area when used for other occupancies, nor more than one story in height, and having a horizontal separation of not less than ten (10) feet on all sides.  Walls having a horizontal separation of less than ten (10 feet shall have a fire-resistance rating of not less than four (4) hours.

c. Greenhouses not more than fifteen (15) feet in height.

d. Sheds open on the long side, not more than fifteen (15) feet in height nor more than 500 square feet in area, located at least ten (10) feet from buildings and from adjoining lot lines.

e. Builders’ shanties for use only in connection with a duly authorized building construction.

(d) BULK OIL TANKS PROHIBITED.  The storage of Class I and Class II flammable liquids, as defined in Section Ind 8.01, Wisconsin Administrative Code, in above ground tanks outside of buildings is prohibited within the fire district.

(e) RAZING OLD OR DAMAGED BUILDINGS.  Any existing building of frame construction within the fire limits which may hereafter be damaged by fire, or which as deteriorated to an amount greater than one-half (1/2) of its value, exclusive of the foundation, as determined by the City Assessor, shall not be repaired or rebuilt, but shall be ordered removed by the Building Inspector under the provisions of the Wisconsin Statutes.

(f) FIRE-RETARDANT ROOFING.

(1) Every roof hereafter constructed within the fire district, including buildings listed in Subsection (c), shall be covered with a roofing having a bona fide fire-resistive rating equivalent to Class “B” or better, as tested according to the American Society for Testing and Materials (ASTM) Standard E108 (Standard Methods of Fire Tests of Roof Coverings), of the Underwriter’s Laboratories or other accepted testing laboratories, whose standards are hereby adopted by reference and incorporated in this Section as if fully set forth herein.

(2) No roofing on an existing roof shall be renewed or repaired to a greater extent than 1/10 of the roof surface, except in conformity with the requirements of this Chapter.

(g) The Building Inspector (or fire Chief or other designated person) is hereby authorized and I shall be his duty to enforce the provisions of this Chapter.

SEC. 3-4-2
FLAMMABLE LIQUIDS.


The Wisconsin Administrative Code, Chapter Ind 8 (Flammable Liquids Code), and Chapter IND 9 (Liquefied Petroleum Gases and LNG) issued by the Department of Industry, Labor and Human Relations is herby adopted by reference as a part of this Chapter and it shall be the duty of the Building Inspector to enforce the provisions thereof.

SEC. 3-4-3
FIRE PREVENTION CODE ADOPTED.

(a) AMERICAN INSURANCE ASSOCIATION CODE ADOPTED.  The Fire Prevention Code recommended by the American Insurance Association (formerly the National Board of Fire Underwriters), 1976 edition, except such portions as are hereinafter deleted, modified or amended, is hereby adopted and incorporated as fully as if set out at length herein.

(b) ENFORCEMENT.  The Fire Prevention Code shall be enforced by the Chief of the Fire Department and such personnel as he may designate for such purpose.

(c) DEFINITIONS.

(1) Wherever the work “Municipality” is used in the Fire Prevention Code, it shall mean the City of Loyal.

(2) Wherever the term “Corporation Counsel” is used in said Code, it shall mean City Attorney.

(d) MODIFICATIONS.  The Chief of the Fire Department may grant a variance to the provisions of the Fire Prevention Code upon application in writing by the owner or lessee, or his duly authorized agent, when there are practical difficulties in carrying out the strict letter of the Code, provided the spirit of the Code shall be observed, public safety secured and substantial justice done.  The particulars of such modification when granted or allowed and the decision of the Chief of the Fire Department thereon shall be entered upon the records of the Department and a signed copy shall be furnished the applicant.  A copy of each order or modification by the Fire Chief shall be filed with the City Clerk-Treasurer.

(e) APPEALS.  Whenever the Chief of the Fire Department shall disapprove an application or refuse to grant a permit applied for, or when it is claimed that the provisions of the Code do not apply or that the true intent and meaning of the Code has been misconstrued or wrongly interpreted, the applicant may appeal from the decision of the Chief of the Fire Department to the Board of Appeals created by Section 2-4-5 of the Municipal Code within thirty (30) days from the date of the decision of the appeal.

(f) OFFENSES.  Any person who shall violate any of the provisions of this Section, or who shall fail to comply therewith, or who shall violate or fail to comply with any order made there under, or who shall build in violation of any detailed statement of specifications or plans submitted and approved there under, or any certificate or permit issued there under and from which no appeal has been taken, or who shall fail to comply with such an order as affirmed or modified by the Board of Appeals or by a court of competent jurisdiction within the time fixed herein, shall be subject to the general penalty of this Code.

