CHAPTER 3

Driveways

§ 4-3-1

Driveways

§ 4-3-2

Permittee Liable for Damage to Injury

SEC. 4-3-1
DRIVEWAYS.

(a) PERMIT REQUIRED.  Unless otherwise especially permitted by resolution of the Common Council, upon written application giving the reason therefore, no person shall construct, repair or reconstruct any driveway across or through any sidewalk or curbing without having first obtained a permit from the Crew Chief of Public Works for which a fee in the sum of Five ($5.00) Dollars shall be charged.  Such permit shall be issued upon an application form provided by the City and shall contain such information as the Common Council shall deem necessary.

(b) INSTALLATION REQUIREMENTS.

(1) No driveway shall exceed thirty (30) feet in width at the outer or street edge of the sidewalk except by specific resolution of the Common Council.

(2) No driveway shall be closer than ten (10) feet to extended street line at an intersection.  At street intersections a driveway shall not provide direct ingress or egress to or from the street intersection area and shall not occupy areas of the roadway deemed necessary by the Common Council for effective traffic control or for highway signs or signals.

(3)  No driveway apron shall extend out into the street further than the facing of the curb and under no circumstances shall such driveway apron extend into any gutter area.  All driveway entrances and approaches shall be so constructed as not to interfere with the drainage of streets, side ditches or roadside areas, or with any existing structure on the right-of-way.  When required by the Common Council so as to provide for adequate surface water drainage along the abutting street, the property owner shall provide any necessary culvert pipe at such owner’s expense.

(4) No more than one driveway entrance and approach shall be constructed for any lot or premises except where deemed necessary and feasible without the impairment of safety, convenience and utility of the street by the Common Council.  Driveway approaches shall be at least ten (10) feet apart except by special permission from the Common Council, and driveways shall in all cases be placed wherever possible as not to interfere with utilities in place.  Any costs of relocating utilities shall be the responsibility of the property owner with approval of the Common Council necessary before any utility may be relocated and the driveway installed.

(5) Workmanship and Materials.  All driveway entrances and approaches which are constructed across sidewalks shall be paved in accordance with the requirements for sidewalk construction in Section 4-2-2(c) of this code insofar as such requirements are applicable, including thickness requirements in Section 4-2-2(c).

(c)
PERMIT APPLICATIONS.  Permit application shall be made at least twenty-four (24) hours in advance of intended installation but this shall not be deemed to be a limitation of time within which a permit must be granted, and the Crew Chief of Public Works shall have such time as reasonably necessary for examination and consideration of any application before granting the permit, subject always to specific direction of the Common Council.  

SEC. 4-3-2
PERMITEE LIABLE FOR DAMAGE TO INJURY.


The permittee shall assume all responsibility for any injury or damage to persons or property resulting directly or indirectly during construction or repair of driveway approaches or entrances.  When curb or gutter is removed, the new construction shall be of equivalent acceptable material and curb returns provided or restored in a neat, workmanlike manner.  Driveway surfaces shall connect with the street pavement and sidewalk in a neat, workmanlike manner.

